## Sheet1
QUANTITIES ARE SUBJECT TO PHYSICAL VERIFICATION
qty | UNIT | DESCRIPTION
300 | M | 2/0 CU CPT 175 TRXLPE triplexed 15kv cable - 1 reel | 1 reel |  |  |  | M15249
300 | M | 4/0 CU CPT 175 TRXLPE triplexed 15kv cable - 1 reel | 1 reel (length sto be confirMed |  |  |  | M15249
350 | m | 1.0 25kv 100% trxlpe FCN
1000 | M | 750McM AL triplexed 28kv 1/3 CN cable unjacketed - about 1000M over Multiple reels |  |  | Multiple reels |  | M18118
700 | M | 350McM al 25kv copper tape |  |  | 2 reels |  | M22590
5+ | reel | acsr dove (556) - |  |  | 5 reels+
6 | reel | acsr grosbeak (636) - |  |  | 6 reels
9000 | M | acsr goose (636) - |  |  | 3 reels |  | M17418
660 | M | Acsr wood duck(636) - |  |  | 1 reel |  | M22078
3000 | M | acsr pigeon (3/0) - |  |  | 2 reels
300 | M | triplex - topaz #2 ns 75 300M |  |  |  |  | M18044
300 | M | triplex - diaMond 4/0 ns 75 300M |  |  |  |  | M18044
300 | M | quadruplex capricornus #2 ns75 300M |  |  |  |  | M18044
300 | M | huckleberry 477 |  |  |  |  | M21064
| coil | triplex90 caesiuM (#4) coils |  |  |  |  | M22017
| coil | triplex90 indiuM (#2) coils |  |  |  |  | M22017
100 | M | AAC 1796 |  |  |  |  | M22359
300 | M | rw90 1kv 300McM cu white - 300M |  |  |  |  | M21236
100 | M | rw90 1kv 300McM cu black - 100M |  |  |  |  | M21236
100 | M | rw90 600V 4/0McM cu black- 100M |  |  |  |  | M21236
500 | M | guy wire 1/4 GR220A |  |  |  |  | M20315
10 | ea | guy wire 1/4 GR220A - 120M coil |  |  |  |  | M20315
10 | ea | guy wire 5/16 GR220A - 75M coil |  |  |  |  | M20315
10 | ea | guy wire 3/8 GR220A - 50 M coil |  |  |  |  | M20315
1000 | M | guy wire 3/8 GR220A |  |  |  |  | M20315
1000 | M | guy wire 7/16 GR220A |  |  |  |  | M19430
10 | ea | guy wire 1/2 GR220A -30M coil |  |  |  |  | M20315
guy wire 1/2 GR220A
3000 | M | guy wire 1/2 EHS B |  |  |  |  | M17056
25609 | M | guy wire 1/2 EHS B |  |  |  |  | M17320re
1000 | M | guy wire 9/16 GR220A |  |  |  |  | M21420
guy wire 5/8 GR220A
guy wire 3/4 GR220A
6000 | M | guy wire 7/8 GR220A |  |  |  |  | M17437
20000 | M | Inner duct fiber optic cable 12 fibres G652 D 7.2MM Dia. 1kn RBS, and anti rodent outer sheath (LSZH) |  |  |  | IDFO-OFC-12G652-CGD-LSZH | M14290
tray cable (shawcor)
202 | M | 3C 14AWG /7B NS XLPE PVC 1000V CSA Tray Cable TC (Direct Burial) | LV Power Cable, Copper, TC FR XLPE insulated, PVC jacketed, 1000V, CSA FT4 all cable is FR XLPE (RW90) Insulation FR PVC Jacket Suitable for use in 90C WET/105C DRY, SUN RES , -40C, FT4 , Direct Burial TC rated for Class I Zone 2 (Div 2) & Class II Div 2 Hazardous | 3c x 14AWG |  | 4D010M140300000 | M19366
287 | M | 3C 10AWG /7B NS PVC 1000V CSA Tray Cable TC (Direct Burial) |  | 3c x 10AWG |  | 4S010M100300000 | M19366
290 | M | 4C 6AWG /7B NS XLPE PVC 1000V CSA Tray Cable TC (Direct Burial) |  | 4c x 6AWG |  | 4D010M060400000 | M19366
246 | M | 3C 1/0AWG /19B NS XLPE PVC 1000V CSA Tray Cable TC (Direct Burial) |  | 3c x 1/0AWG |  | 4D010M1/0340000 | M19366
253 | M | 2C 12AWG /7B NS PVC 600V CSA Tray Cable TC (Direct Burial) | LV Power Cable, Copper TC FR XLPE insulated, PVC jacketed, 600V, CSA FT4 all cable is FR XLPE (RW90) Insulation FR PVC Jacket Suitable for use in 90C WET/105C DRY, SUN RES , -40C, FT4 , Direct Burial TC rated for Class I Zone 2 (Div 2) & Class II Div 2 Hazardous | 2c x 12AWG |  | 4R010M120200000 | M19366
239 | M | 2C 6AWG /7B NS XLPE PVC 600V CSA Tray Cable TC (Direct Burial) |  | 2c x 6AWG |  | 4C010M060200000 | M19366
239 | M | 3C 6AWG /7B NS XLPE PVC 600V CSA Tray Cable TC (Direct Burial) |  | 3c x 6AWG |  | 4C010M060300000 | M19366
75 | M | 4C 14AWG /7B NS XLPE PVC 600V CSA Tray Cable TC (Direct Burial) |  | 4c x 14AWG |  | 4C010M140400000 | M19366
67 | M | 4C 12AWG /7B NS PVC 600V CSA Tray Cable TC (Direct Burial) |  | 4c x 12AWG |  | 4R010M120400000 | M19366
29.4 | M | 4C 10AWG /7B NS PVC 600V CSA Tray Cable TC (Direct Burial) |  | 4c x 10AWG |  | 4R010M100400000 | M19366
193 | M | 4C 4/0AWG /19B NS XLPE PVC 600V CSA Tray Cable TC (Direct Burial) |  | 4c x 4/0AWG |  | 4C010M4/0440000 | M19366
32 | M | 4C 250KCMIL /37 B NS XLPE PVC 600V CSA Tray Cable TC (Direct Burial) |  | 4c x 250kCMIL |  | 4C010M250460000 | M19366
260 | M | 12C 14AWG /7B NS XLPE PVC 600V CSA Tray Cable TC (Direct Burial) |  | 12c x 14AWG |  | 4C010M141200000 | M19366
33 | M | 25C 14AWG /7B NS XLPE PVC 600V CSA Tray Cable TC (Direct Burial) |  | 25c x 14AWG |  | 4C010M142500000 | M19366
fiber optic pach cable
STOCK LEVEL |  | CoMMents/part # | Description | Length in Meter
Connection Type LC-LC
50 | ea | MVA-ATKNRMMDLCLCLSZH625125uM-2MMSJ2M | Non-rugged Multi-Mode, duplex, 2MM standard jacket | 2
50 | ea | MVA-ATKNRMMDLCLCLSZH625125uM-2MMSJ3M | Non-rugged Multi-Mode, duplex, 2MM standard jacket | 3
90 | ea | MVA-ATKNRMMDLCLCLSZH625125uM-2MMSJ5M | Non-rugged Multi-Mode, duplex, 2MM standard jacket | 5
80 | ea | MVA-ATKNRMMDLCLCLSZH625125uM-2MMSJ7.5M | Non-rugged Multi-Mode, duplex, 2MM standard jacket | 7.5
90 | ea | MVA-ATKNRMMDLCLCLSZH625125uM-2MMSJ10M | Non-rugged Multi-Mode, duplex, 2MM standard jacket | 10
90 | ea | MVA-ATKNRMMDLCLCLSZH625125uM-2MMSJ12M | Non-rugged Multi-Mode, duplex, 2MM standard jacket | 12
90 | ea | MVA-ATKNRMMDLCLCLSZH625125uM-2MMSJ15M | Non-rugged Multi-Mode, duplex, 2MM standard jacket | 15
90 | ea | MVA-ADTKNRMMDLCLCLSZH625125uM-2MMSJ20M | Non-rugged Multi-Mode, duplex, 2MM standard jacket | 20
Connection Type LC-SC
50 | ea | MVA-ATKNRMMDLCSCLSZH625125uM-2MMSJ2M | Non-rugged Multi-Mode, duplex, 2MM standard jacket | 2
80 | ea | MVA-ATKNRMMDLCSCLSZH625125uM-2MMSJ3M | Non-rugged Multi-Mode, duplex, 2MM standard jacket | 3
90 | ea | MVA-ATKNRMMDLCSCLSZH625125uM-2MMSJ5M | Non-rugged Multi-Mode, duplex, 2MM standard jacket | 5
100 | ea | MVA-ATKNRMMDLCLSCLSZH625125uM-2MMSJ7.5M | Non-rugged Multi-Mode, duplex, 2MM standard jacket | 7.5
100 | ea | MVA-ATKNRMMDLCSCLSZH625125uM-2MMSJ10M | Non-rugged Multi-Mode, duplex, 2MM standard jacket | 10
100 | ea | MVA-ATKNRMMDLCSCLSZH625125uM-2MMSJ12M | Non-rugged Multi-Mode, duplex, 2MM standard jacket | 12
90 | ea | MVA-ATKNRMMDLCSCLSZH625125uM-2MMSJ15M | Non-rugged Multi-Mode, duplex, 2MM standard jacket | 15
90 | ea | MVA-ATKNRMMDLCSCLSZH625125uM-2MMSJ20M | Non-rugged Multi-Mode, duplex, 2MM standard jacket | 20
Connection Type SC-SC
60 | ea | MVA-ATKNRMMDSCSCLSZH625125uM-2MMSJ2M | Non-rugged Multi-Mode, duplex, 2MM standard jacket | 2
60 | ea | MVA-ATKNRMMDSCSCLSZH625125uM-2MMSJ3M | Non-rugged Multi-Mode, duplex, 2MM standard jacket | 3
80 | ea | MVA-ATKNRMMDSCSCLSZH625125uM-2MMSJ5M | Non-rugged Multi-Mode, duplex, 2MM standard jacket | 5
80 | ea | MVA-ATKNRMMDSCSCLSZH625125uM-2MMSJ7.5M | Non-rugged Multi-Mode, duplex, 2MM standard jacket | 7.5
90 | ea | MVA-ATKNRMMDSCSCLSZH625125uM-2MMSJ10M | Non-rugged Multi-Mode, duplex, 2MM standard jacket | 10
90 | ea | MVA-ATKNRMMDSCSCLSZH625125uM-2MMSJ12M | Non-rugged Multi-Mode, duplex, 2MM standard jacket | 12
90 | ea | MVA-ATKNRMMDSCSCLSZH625125uM-2MMSJ15M | Non-rugged Multi-Mode, duplex, 2MM standard jacket | 15
90 | ea | MVA-ATKNRMMDSCSCLSZH625125uM-2MMSJ20M | Non-rugged Multi-Mode, duplex, 2MM standard jacket | 20
Connection Type LC-LC
100 | ea | MVA-ATKNRSMDLCLCLSZH9125uM-2MMSJ1M | Non-rugged single-Mode, duplex, 2MM standard jacket | 1
110 | ea | MVA-ATKNRSMDLCLCLSZH9125uM-2MMSJ2M | Non-rugged single-Mode, duplex, 2MM standard jacket | 2
40 | ea | MVA-ATKNRSMDLCLCLSZH9125uM-2MMSJ3M | Non-rugged single-Mode, duplex, 2MM standard jacket | 3
40 | ea | MVA-ATKNRSMDLCLCLSZH9125uM-2MMSJ5M | Non-rugged single-Mode, duplex, 2MM standard jacket | 5
60 | ea | MVA-ATKNRSMDLCLCLSZH9125uM-2MMSJ7.5M | Non-rugged single-Mode, duplex, 2MM standard jacket | 7.5
50 | ea | MVA-ATKNRSMDLCLCLSZH9125uM-2MMSJ10M | Non-rugged single-Mode, duplex, 2MM standard jacket | 10
50 | ea | MVA-ATKNRSMDLCLCLSZH9125uM-2MMSJ12M | Non-rugged single-Mode, duplex, 2MM standard jacket | 12
60 | ea | MVA-ATKNRSMDLCLCLSZH9125uM-2MMSJ15M | Non-rugged single-Mode, duplex, 2MM standard jacket | 15
100 | ea | MVA-ATKNRSMDLCLCLSZH9125uM-2MMSJ20M | Non-rugged single-Mode, duplex, 2MM standard jacket | 20
Connection Type LC-SC
190 | ea | MVA-ATKNRSMDLCSCLSZH9125uM-2MMSJ1M | Non-rugged single-Mode, duplex, 2MM standard jacket | 1
150 | ea | MVA-ATKNRSMDLCSCLSZH9125uM-2MMSJ2M | Non-rugged single-Mode, duplex, 2MM standard jacket | 2
140 | ea | MVA-ATKNRSMDLCSCLSZH9125uM-2MMSJ3M | Non-rugged single-Mode, duplex, 2MM standard jacket | 3
20 | ea | MVA-ATKNRSMDLCSCLSZH9125uM-2MMSJ5M | Non-rugged single-Mode, duplex, 2MM standard jacket | 5
60 | ea | MVA-ATKNRSMDLCSCLSZH9125uM-2MMSJ7.5M | Non-rugged single-Mode, duplex, 2MM standard jacket | 7.5
80 | ea | MVA-ATKNRSMDLCSCLSZH9125uM-2MMSJ10M | Non-rugged single-Mode, duplex, 2MM standard jacket | 10
40 | ea | MVA-ATKNRSMDLCSCLSZH9125uM-2MMSJ12M | Non-rugged single-Mode, duplex, 2MM standard jacket | 12
30 | ea | MVA-ATKNRSMDLCSCLSZH9125uM-2MMSJ15M | Non-rugged single-Mode, duplex, 2MM standard jacket | 15
80 | ea | MVA-ATKNRSMDLCSCLSZH9125uM-2MMSJ20M | Non-rugged single-Mode, duplex, 2MM standard jacket | 20
Connection Type SC-SC
110 | ea | MVA-ATKNRSMDSCSCLSZH9125uM-2MMSJ1M | Non-rugged single-Mode, duplex, 2MM standard jacket | 1
40 | ea | MVA-ATKNRSMDSCSCLSZH9125uM-2MMSJ2M | Non-rugged single-Mode, duplex, 2MM standard jacket | 2
60 | ea | MVA-ATKNRSMDSCSCLSZH9125uM-2MMSJ3M | Non-rugged single-Mode, duplex, 2MM standard jacket | 3
40 | ea | MVA-ATKNRSMDSCSCLSZH9125uM-2MMSJ5M | Non-rugged single-Mode, duplex, 2MM standard jacket | 5
50 | ea | MVA-ATKNRSMDSCSCLSZH9125uM-2MMSJ7.5M | Non-rugged single-Mode, duplex, 2MM standard jacket | 7.5
100 | ea | MVA-ATKNRSMDSCSCLSZH9125uM-2MMSJ10M | Non-rugged single-Mode, duplex, 2MM standard jacket | 10
80 | ea | MVA-ATKNRSMDSCSCLSZH9125uM-2MMSJ12M | Non-rugged single-Mode, duplex, 2MM standard jacket | 12
70 | ea | MVA-ATKNRSMDSCSCLSZH9125uM-2MMSJ15M | Non-rugged single-Mode, duplex, 2MM standard jacket | 15
90 | ea | MVA-ATKNRSMDSCSCLSZH9125uM-2MMSJ20M | Non-rugged single-Mode, duplex, 2MM standard jacket | 20
0 | ea | MVA-ATKNRSMDSCSCLSZH9125uM-2MMSJ40M | Non-rugged single-Mode, duplex, 2MM standard jacket | 40
0
Connection Type LC (db)
40 | ea | MVA-ATKCLCPSMAT13001500NMMFLCUPC-1DB | Plug Type, SM fixed attenuator 1300/1550nM Male to feMale LC/Ultra PC | 1db
40 | ea | MVA-ATKCLCPSMAT13001500NMMFLCUPC-2DB | Plug Type, SM fixed attenuator 1300/1550nM Male to feMale LC/Ultra PC | 2db
40 | ea | MVA-ATKCLCPSMAT13001500NMMFLCUPC-3DB | Plug Type, SM fixed attenuator 1300/1550nM Male to feMale LC/Ultra PC | 3db
40 | ea | MVA-ATKCLCPSMAT13001500NMMFLCUPC-4DB | Plug Type, SM fixed attenuator 1300/1550nM Male to feMale LC/Ultra PC | 4db
30 | ea | MVA-ATKCLCPSMAT13001500NMMFLCUPC-5DB | Plug Type, SM fixed attenuator 1300/1550nM Male to feMale LC/Ultra PC | 5db
40 | ea | MVA-ATKCLCPSMAT13001500NMMFLCUPC-6DB | Plug Type, SM fixed attenuator 1300/1550nM Male to feMale LC/Ultra PC | 6db
40 | ea | MVA-ATKCLCPSMAT13001500NMMFLCUPC-7DB | Plug Type, SM fixed attenuator 1300/1550nM Male to feMale LC/Ultra PC | 7db
20 | ea | MVA-ATKCLCPSMAT13001500NMMFLCUPC-9DB | Plug Type, SM fixed attenuator 1300/1550nM Male to feMale LC/Ultra PC | 9db
30 | ea | MVA-ATKCLCPSMAT13001500NMMFLCUPC-10DB | Plug Type, SM fixed attenuator 1300/1550nM Male to feMale LC/Ultra PC | 10db
40 | ea | MVA-ATKCLCPSMAT13001500NMMFLCUPC-11DB | Plug Type, SM fixed attenuator 1300/1550nM Male to feMale LC/Ultra PC | 11db
20 | ea | MVA-ATKCLCPSMAT13001500NMMFLCUPC-12DB | Plug Type, SM fixed attenuator 1300/1550nM Male to feMale LC/Ultra PC | 12db
40 | ea | MVA-ATKCLCPSMAT13001500NMMFLCUPC-15DB | Plug Type, SM fixed attenuator 1300/1550nM Male to feMale LC/Ultra PC | 15db
0 | ea
40 | ea | MVA-ATKCSCPSMAT13001500NMMFSCUPC-15DB | Plug Type, SM fixed attenuator 1300/1550nM Male to feMale SC/Ultra PC | 1db
40 | ea | MVA-ATKCSCPSMAT13001500NMMFSCUPC-15DB | Plug Type, SM fixed attenuator 1300/1550nM Male to feMale SC/Ultra PC | 2db
40 | ea | MVA-ATKCSCPSMAT13001500NMMFSCUPC-15DB | Plug Type, SM fixed attenuator 1300/1550nM Male to feMale SC/Ultra PC | 3db
40 | ea | MVA-ATKCSCPSMAT13001500NMMFSCUPC-15DB | Plug Type, SM fixed attenuator 1300/1550nM Male to feMale SC/Ultra PC | 4db
40 | ea | MVA-ATKCSCPSMAT13001500NMMFSCUPC-15DB | Plug Type, SM fixed attenuator 1300/1550nM Male to feMale SC/Ultra PC | 5db
40 | ea | MVA-ATKCSCPSMAT13001500NMMFSCUPC-15DB | Plug Type, SM fixed attenuator 1300/1550nM Male to feMale SC/Ultra PC | 6db
40 | ea | MVA-ATKCSCPSMAT13001500NMMFSCUPC-15DB | Plug Type, SM fixed attenuator 1300/1550nM Male to feMale SC/Ultra PC | 7db
40 | ea | MVA-ATKCSCPSMAT13001500NMMFSCUPC-15DB | Plug Type, SM fixed attenuator 1300/1550nM Male to feMale SC/Ultra PC | 9db
40 | ea | MVA-ATKCSCPSMAT13001500NMMFSCUPC-15DB | Plug Type, SM fixed attenuator 1300/1550nM Male to feMale SC/Ultra PC | 10db
40 | ea | MVA-ATKCSCPSMAT13001500NMMFSCUPC-15DB | Plug Type, SM fixed attenuator 1300/1550nM Male to feMale SC/Ultra PC | 11db
40 | ea | MVA-ATKCSCPSMAT13001500NMMFSCUPC-15DB | Plug Type, SM fixed attenuator 1300/1550nM Male to feMale SC/Ultra PC | 12db
20 | ea | MVA-ATKCSCPSMAT13001500NMMFSCUPC-15DB | Plug Type, SM fixed attenuator 1300/1550nM Male to feMale SC/Ultra PC | 15db
0 | ea
0 | ea | adapter SC PC Male to LC PC FeMale single Mode plastic
5 | ea | adapter SC PC Male to LC PC FeMale Multi Mode plastic
qty |  | Detailed Description
PART #
30 | ea | CoMputer patch cord UTP category 6, stranded, 28 AWG, CMR, Class B, 900 MM (3ft), Blue per specification 271619 | CPUTP6STR28CMRBBU-3 |  |  |  | M17358
300 | ea | CoMputer patch cord UTP category 6, stranded, 28 AWG, CMR, Class B, 1500 MM (5ft), Blue per specification 271619 | CPUTP6STR28CMRBBU-5 |  |  |  | M17358
10 | ea | CoMputer patch cord UTP category 6, stranded, 28 AWG, CMR, Class B, 2100 MM (7ft), Blue per specification 271619 | CPUTP6STR28CMRBBU-7 |  |  |  | M17358
10 | ea | CoMputer patch cord UTP category 6, stranded, 28 AWG, CMR, Class B, 3000 MM (10ft), Blue per specification 271619 | CPUTP6STR28CMRBBU-10 |  |  |  | M17358
300 | ea | CoMputer patch cord UTP category 6, stranded, 28 AWG, CMR, Class B, 4500 MM (15ft), Blue per specification 271619 | CPUTP6STR28CMRBBU-15 |  |  |  | M17358
10 | ea | CoMputer patch cord UTP category 6, stranded, 28 AWG, CMR, Class B, 6100 MM (20ft), Blue per specification 271619 | CPUTP6STR28CMRBBU-20 |  |  |  | M17358
30 | ea | CoMputer patch cord UTP category 6, stranded, 24 AWG, CMR, Class B, 900 MM (3ft), Blue per specification 271619 | CPUTP6STR24CMRBBU-3 |  |  |  | M17358
300 | ea | CoMputer patch cord UTP category 6, stranded, 24 AWG, CMR, Class B, 1500 MM (5ft), Blue per specification 271619 | CPUTP6STR24CMRBBU-5 |  |  |  | M17358
10 | ea | CoMputer patch cord UTP category 6, stranded, 24 AWG, CMR, Class B, 2100 MM (7ft), Blue per specification 271619 | CPUTP6STR24CMRBBU-7 |  |  |  | M17358
10 | ea | CoMputer patch cord UTP category 6, stranded, 24 AWG, CMR, Class B, 3000 MM (10ft), Blue per specification 271619 | CPUTP6STR24CMRBBU-10 |  |  |  | M17358
300 | ea | CoMputer patch cord UTP category 6, stranded, 24 AWG, CMR, Class B, 4500 MM (15ft), Blue per specification 271619 | CPUTP6STR24CMRBBU-15 |  |  |  | M17358
10 | ea | CoMputer patch cord UTP category 6, stranded, 24 AWG, CMR, Class B, 6100 MM (20ft), Blue per specification 271619 | CPUTP6STR24CMRBBU-20 |  |  |  | M17358
60 | ea | CoMputer patch cord UTP category 6, stranded, 28 AWG, CMR, Class B, 900 MM (3ft), Yellow per specification 271619 | CPUTP6STR28CMRBYL-3 |  |  |  | M17358
10 | ea | CoMputer patch cord UTP category 6, stranded, 28 AWG, CMR, Class B, 1500 MM (5ft), Yellow per specification 271619 | CPUTP6STR28CMRBYL-5 |  |  |  | M17358
10 | ea | CoMputer patch cord UTP category 6, stranded, 28 AWG, CMR, Class B, 2100 MM (7ft), Yellow per specification 271619 | CPUTP6STR28CMRBYL-7 |  |  |  | M17358
10 | ea | CoMputer patch cord UTP category 6, stranded, 28 AWG, CMR, Class B, 3000 MM (10ft), Yellow per specification 271619 | CPUTP6STR28CMRBYL-10 |  |  |  | M17358
60 | ea | CoMputer patch cord UTP category 6, stranded, 28 AWG, CMR, Class B, 4500 MM (15ft), Yellow per specification 271619 | CPUTP6STR28CMRBYL-15 |  |  |  | M17358
10 | ea | CoMputer patch cord UTP category 6, stranded, 28 AWG, CMR, Class B, 6100 MM (20ft), Yellow per specification 271619 | CPUTP6STR28CMRBYL-20 |  |  |  | M17358
60 | ea | CoMputer patch cord UTP category 6, stranded, 28 AWG, CMR, Class B, 900 MM (3ft), Purple per specification 271619 | CPUTP6STR28CMRBPR-3 |  |  |  | M17358
30 | ea | CoMputer patch cord UTP category 6, stranded, 28 AWG, CMR, Class B, 1500 MM (5ft), Purple per specification 271619 | CPUTP6STR28CMRBPR-5 |  |  |  | M17358
10 | ea | CoMputer patch cord UTP category 6, stranded, 28 AWG, CMR, Class B, 2100 MM (7ft), Purple per specification 271619 | CPUTP6STR28CMRBPR-7 |  |  |  | M17358
10 | ea | CoMputer patch cord UTP category 6, stranded, 28 AWG, CMR, Class B, 3000 MM (10ft), Purple per specification 271619 | CPUTP6STR28CMRBPR-10 |  |  |  | M17358
60 | ea | CoMputer patch cord UTP category 6, stranded, 28 AWG, CMR, Class B, 4500 MM (15ft), Purple per specification 271619 | CPUTP6STR28CMRBPR-15 |  |  |  | M17358
10 | ea | CoMputer patch cord UTP category 6, stranded, 28 AWG, CMR, Class B, 6100 MM (20ft), Purple per specification 271619 | CPUTP6STR28CMRBPR-20 |  |  |  | M17358
10 | ea | CoMputer patch cord UTP category 6, stranded, 28 AWG, CMR, Class B, 900 MM (3ft), Grey per specification 271619 | CPUTP6STR28CMRBGR-3 |  |  |  | M17358
10 | ea | CoMputer patch cord UTP category 6, stranded, 28 AWG, CMR, Class B, 1500 MM (5ft), Grey per specification 271619 | CPUTP6STR28CMRBGR-5 |  |  |  | M17358
70 | ea | CoMputer patch cord UTP category 6, stranded, 28 AWG, CMR, Class B, 2100 MM (7ft), Grey per specification 271619 | CPUTP6STR28CMRBGR-7 |  |  |  | M17358
10 | ea | CoMputer patch cord UTP category 6, stranded, 28 AWG, CMR, Class B, 3000 MM (10ft), Grey per specification 271619 | CPUTP6STR28CMRBGR-10 |  |  |  | M17358
70 | ea | CoMputer patch cord UTP category 6, stranded, 28 AWG, CMR, Class B, 4500 MM (15ft), Grey per specification 271619 | CPUTP6STR28CMRBGR-15 |  |  |  | M17358
10 | ea | CoMputer patch cord UTP category 6, stranded, 28 AWG, CMR, Class B, 6100 MM (20ft), Grey per specification 271619 | CPUTP6STR28CMRBGR-20 |  |  |  | M17358
| ea |  | PART # |  |  |  | M17358
5 | ea | CoMputer patch cord UTP category 6, stranded, 28 AWG, Pinned B-A, CMR, Class B, 900 MM (3ft), Red per specification 271619 | CPUTP6STR28PBACMRBRD-3 |  |  |  | M17358
5 | ea | CoMputer patch cord UTP category 6, stranded, 28 AWG, Pinned B-A, CMR, Class B, 3000 MM (10ft), Red per specification 271619 | CPUTP6STR28PBACMRBRD-10 |  |  |  | M17358
5 | ea | CoMputer patch cord UTP category 6, stranded, 28 AWG, Pinned B-A, CMR, Class B, 6100 MM (20ft), Red per specification 271619 | CPUTP6STR28PBACMRBRD-20 |  |  |  | M17358
| ea |  | PART # |  |  |  | M17358
10 | ea | CoMputer patch cord OM4, LC to LC, 2 strand, Class B, OFNR, 1900 MM (6ft) Aqua per specification 271619 | FPCOM4DBLCLCOFNRAQ-6 |  |  |  | M17358
20 | ea | CoMputer patch cord OM4, LC to LC, 2 strand, Class B, OFNR, 3000 MM (10ft) Aqua per specification 271619 | FPCOM4DBLCLCOFNRAQ-10 |  |  |  | M17358
30 | ea | CoMputer patch cord OM4, LC to LC, 2 strand, Class B, OFNR, 4500 MM (15ft) Aqua per specification 271619 | FPCOM4DBLCLCOFNRAQ-15 |  |  |  | M17358
| ea |  | PART # |  |  |  | M17358
20 | ea | CoMputer harness patch cable, OM4, MPO Gender-A, 6 LC duplex, OFNR, 1900 MM (6 ft), Aqua per specifications 271619 | FPHCOM4MPOA6LCOFNRAQ-6 |  |  |  | M17358
20 | ea | CoMputer harness patch cable, OM4, MPO Gender-A, 6 LC duplex, OFNR, 3000 MM (10 ft), Aqua per specifications 271619 | FPHCOM4MPOA6LCOFNRAQ-10 |  |  |  | M17358
20 | ea | CoMputer harness patch cable, OM4, MPO Gender-A, 6 LC duplex, OFNR, 4500 MM (15 ft), Aqua per specifications 271619 | FPHCOM4MPOA6LCOFNRAQ-15 |  |  |  | M17358